X-ray Structure Determination of Compound 1274

Compound 1274, C47H66O11, crystallizes in the monoclinic space group P21 (systematic absences 0k0: k=odd) with a=11.2616(11)Å, b=9.2356(9)Å, c=23.839(3)Å, =92.586(3)°, V=2476.9(4)Å3, Z=2 and dcalc=1.082 g/cm3.  X-ray intensity data were collected on a Rigaku Mercury CCD area detector employing graphite-monochromated Mo-K radiation (=0.71073 Å) at a temperature of 143K. Preliminary indexing was performed from a series of twelve 0.5° rotation images with exposures of 30 seconds. A total of 532 rotation images were collected with a crystal to detector distance of 35 mm, a 2swing angle of -12°, rotation widths of 0.5° and exposures of 90 seconds: scan no. 1 was a -scan from 135° to 315° at  = 10° and  = 20°; scan no. 2 was an -scan from -20° to 5° at  = -90° and   = 135°; scan no. 3 was an -scan from -20° to 4° at  = -90° and   = 0°; scan no. 4 was an -scan from -20° to 17° at  = -90° and   = 225°.  Rotation images were processed using CrystalClear, producing a listing of unaveraged F2 and (F2) values which were then passed to the CrystalStructure program package for further processing and structure solution on a Dell Pentium III computer. A total of 17070 reflections were measured over the ranges 5.1 250.02 °,  -13 h 11,  -10 k 9,  -28 l 28 yielding 8061 unique reflections (Rint = 0.0347). The intensity data were corrected for Lorentz and polarization effects and for absorption using REQAB (minimum and maximum transmission 0.828, 1.000).

The structure was solved by direct methods (SIR97). The C16-C17-C18 moiety was disordered by rotation of approximately 30º about the C14-C15 and C19-C20 bonds; two contributing disorder fragments (C16, C17, C18 and C16’, C17’, C18’) were refined with 50% occupancies. There was a region of disordered ethyl acetate solvent which could not be successfully modeled; the X-ray data were corrected for the presence of disordered solvent using SQUEEZE. Refinement was by full-matrix least squares based on F2 using SHELXL-97. All reflections were used during refinement. The weighting scheme used was w=1/[2(Fo)+ 0.0975P2 + 0.0000P] where P = (Fo+ 2Fc)/3 . Non-hydrogen atoms were refined anisotropically and hydrogen atoms were refined using a “riding” model.  Refinement converged to R1=0.0636 and wR2=0.1558 for 5797 reflections for which F > 4(F) and R1=0.0858, wR2=0.1735 and GOF = 1.030 for all 8061 unique, non-zero reflections and 559 variables. The maximum / in the final cycle of least squares was 0.000 and the two most prominent peaks in the final difference Fourier were +0.255 and -0.207 e/Å3.

Table 1. lists cell information, data collection parameters, and refinement data.  Final positional and equivalent isotropic thermal parameters are given in Table 2.  Anisotropic thermal parameters are in Table 3.  Tables 4. and 5. list bond distances and bond angles.  Figure 1. is an ORTEP representation of the molecule with 30% probability thermal ellipsoids displayed.

Figure 1. ORTEP drawing of the title compound with 30% probability thermal ellipsoids.

Table 1.  Summary of Structure Determination of Compound 1274

Formula:	C47H66O11

Formula weight:	807.00

Crystal class:	monoclinic

Space group:	P21  (#4)

Z	2

Cell constants:

a	11.2616(11)Å

b 	9.2356(9)Å

c	23.839(3)Å

	92.586(3)°

V 	2476.9(4)Å3

	0.76 cm-1

crystal size, mm	0.24 x 0.10 x 0.03

Dcalc	1.082 g/cm3

F(000)	872

Radiation:	Mo-K(=0.71073Å)

2 range	5.1 – 50.02 °

hkl collected:	-13h 11;  -10k 9;  -28l 28

No. reflections measured:	17070

No. unique reflections:	8061 (Rint=0.0347)

No. observed reflections	5797 (F>4)

No. reflections used in refinement	8061

No. parameters	559

R indices (F>4	R1=0.0636

wR2=0.1558

R indices (all data	R1=0.0858

wR2=0.1735

GOF:	1.030

Final Difference Peaks, e/Å3	+0.255, -0.207

Table 2.  Refined Positional Parameters for Compound 1274

| Atom x y z Ueq, Å2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| C1 | 1.1250(4) | 0.5520(5) | 0.3869(2) | 0.0538(10) |
| C2 | 1.1039(4) | 0.4965(5) | 0.3281(2) | 0.0542(10) |
| H2a | 1.1630 | 0.4244 | 0.3195 | 0.072 |
| H2b | 1.1081 | 0.5750 | 0.3013 | 0.072 |
| C3 | 0.9805(4) | 0.4299(6) | 0.3257(2) | 0.0699(12) |
| H3a | 0.9234 | 0.5024 | 0.3363 | 0.093 |
| H3b | 0.9784 | 0.3516 | 0.3528 | 0.093 |
| C4 | 0.9440(4) | 0.3711(5) | 0.2674(2) | 0.0632(11) |
| H4a | 0.9970 | 0.2930 | 0.2578 | 0.084 |
| H4b | 0.9509 | 0.4473 | 0.2397 | 0.084 |
| C5 | 0.8153(4) | 0.3150(6) | 0.2660(2) | 0.0655(12) |
| H5a | 0.8066 | 0.2474 | 0.2967 | 0.087 |
| H5b | 0.7619 | 0.3956 | 0.2715 | 0.087 |
| C6 | 0.7804(4) | 0.2398(5) | 0.2108(2) | 0.0558(10) |
| H6 | 0.8346 | 0.1583 | 0.2057 | 0.074 |
| C7 | 0.7892(3) | 0.3412(4) | 0.1617(2) | 0.0528(10) |
| H7 | 0.7363 | 0.4186 | 0.1603 | 0.070 |
| C8 | 0.8637(3) | 0.3328(5) | 0.1203(2) | 0.0532(10) |
| C9 | 0.8633(3) | 0.4454(5) | 0.07433(14) | 0.0502(9) |
| H9 | 0.9396 | 0.4964 | 0.0778 | 0.067 |
| C10 | 0.8518(4) | 0.3838(5) | 0.0153(2) | 0.0568(10) |
| H10 | 0.9219 | 0.3255 | 0.0075 | 0.076 |
| C11 | 0.8383(4) | 0.5043(6) | -0.0262(2) | 0.0631(12) |
| H11 | 0.8489 | 0.4857 | -0.0640 | 0.084 |
| C12 | 0.8117(4) | 0.6369(6) | -0.0103(2) | 0.0640(12) |
| H12 | 0.8109 | 0.7099 | -0.0372 | 0.085 |
| C13 | 0.7828(4) | 0.6772(5) | 0.0486(2) | 0.0582(10) |
| H13 | 0.7044 | 0.7234 | 0.0464 | 0.077 |
| C14 | 0.8702(4) | 0.7871(5) | 0.0758(2) | 0.0585(10) |
| H14a | 0.9481 | 0.7429 | 0.0809 | 0.078 |
| H14b | 0.8772 | 0.8699 | 0.0511 | 0.078 |
| C15 | 0.8280(4) | 0.8371(5) | 0.1322(2) | 0.0626(11) |
| H15 | 0.7519 | 0.8761 | 0.1323 | 0.083 |
| H15' | 0.7813 | 0.9200 | 0.1335 | 0.083 |
| C16 | 0.8899(13) | 0.8309(12) | 0.1831(5) | 0.055(3) |
| H16 | 0.9669 | 0.7947 | 0.1832 | 0.073 |
| C17 | 0.8453(9) | 0.8764(10) | 0.2376(3) | 0.057(2) |
| H17a | 0.7619 | 0.9015 | 0.2326 | 0.076 |
| H17b | 0.8880 | 0.9624 | 0.2503 | 0.076 |
| C18 | 0.8599(9) | 0.7575(11) | 0.2830(4) | 0.045(2) |
| H18a | 0.8220 | 0.6688 | 0.2698 | 0.060 |
| H18b | 0.9436 | 0.7379 | 0.2909 | 0.060 |
| C16' | 0.8544(12) | 0.7687(14) | 0.1789(5) | 0.062(3) |
| H16' | 0.9158 | 0.7013 | 0.1794 | 0.082 |
| C17' | 0.7908(9) | 0.7932(11) | 0.2321(3) | 0.059(2) |
| H17a' | 0.7321 | 0.8690 | 0.2255 | 0.078 |
| H17b' | 0.7486 | 0.7053 | 0.2412 | 0.078 |
| C18' | 0.8701(10) | 0.8347(14) | 0.2815(4) | 0.056(2) |
| H18a' | 0.8929 | 0.9356 | 0.2785 | 0.074 |
| H18b' | 0.9417 | 0.7762 | 0.2823 | 0.074 |
| C19 | 0.8020(4) | 0.8103(6) | 0.3365(2) | 0.0626(12) |
| H19 | 0.7194 | 0.8132 | 0.3343 | 0.083 |
| H19' | 0.7275 | 0.7668 | 0.3350 | 0.083 |
| C20 | 0.8512(4) | 0.8519(5) | 0.3846(2) | 0.0556(10) |
| H20 | 0.9305 | 0.8804 | 0.3853 | 0.074 |
| C21 | 0.7894(3) | 0.8565(3) | 0.43819(13) | 0.0410(8) |
| H21 | 0.7036 | 0.8504 | 0.4294 | 0.055 |
| C22 | 0.8239(3) | 0.7333(4) | 0.47845(13) | 0.0381(7) |
| H22 | 0.7825 | 0.7487 | 0.5132 | 0.051 |
| C23 | 0.7899(3) | 0.5847(4) | 0.45619(14) | 0.0385(8) |
| H23 | 0.8380 | 0.5614 | 0.4242 | 0.051 |
| C24 | 0.8078(3) | 0.4678(4) | 0.50112(14) | 0.0433(8) |
| H24a | 0.8917 | 0.4608 | 0.5121 | 0.058 |
| H24b | 0.7653 | 0.4947 | 0.5340 | 0.058 |
| C25 | 0.7634(3) | 0.3209(4) | 0.4797(2) | 0.0469(9) |
| H25 | 0.7638 | 0.2529 | 0.5113 | 0.062 |
| C26 | 0.6372(3) | 0.3310(4) | 0.45374(14) | 0.0440(8) |
| H26 | 0.6204 | 0.2409 | 0.4332 | 0.059 |
| C27 | 0.6305(3) | 0.4561(4) | 0.41105(14) | 0.0399(8) |
| H27 | 0.6859 | 0.4352 | 0.3816 | 0.053 |
| C28 | 0.5074(3) | 0.4797(4) | 0.3833(2) | 0.0504(9) |
| H28a | 0.4495 | 0.4873 | 0.4121 | 0.067 |
| H28b | 0.5067 | 0.5700 | 0.3626 | 0.067 |
| C29 | 0.4729(3) | 0.3585(4) | 0.3443(2) | 0.0452(9) |
| H29 | 0.5199 | 0.3456 | 0.3136 | 0.060 |
| C30 | 0.3834(3) | 0.2679(4) | 0.34845(14) | 0.0450(8) |
| H30 | 0.3336 | 0.2803 | 0.3782 | 0.060 |
| C31 | 0.3569(3) | 0.1465(4) | 0.30839(14) | 0.0415(8) |
| H31 | 0.4117 | 0.1542 | 0.2778 | 0.055 |
| C32 | 0.3701(3) | -0.0037(4) | 0.3334(2) | 0.0463(9) |
| H32 | 0.3293 | -0.0061 | 0.3689 | 0.062 |
| C33 | 0.3097(4) | -0.1113(4) | 0.2929(2) | 0.0530(10) |
| H33 | 0.3231 | -0.2111 | 0.3057 | 0.071 |
| C34 | 0.1792(4) | -0.0787(4) | 0.2862(2) | 0.0578(10) |
| H34a | 0.1356 | -0.1553 | 0.2666 | 0.077 |
| H34b | 0.1443 | -0.0598 | 0.3220 | 0.077 |
| C35 | 0.1871(3) | 0.0548(4) | 0.2515(2) | 0.0504(9) |
| H35 | 0.1089 | 0.0807 | 0.2347 | 0.067 |
| C36 | 0.2695(4) | 0.0063(4) | 0.2066(2) | 0.0529(10) |
| H36 | 0.2232 | -0.0510 | 0.1788 | 0.070 |
| C37 | 0.3318(4) | 0.1227(5) | 0.1766(2) | 0.0558(10) |
| H37 | 0.3344 | 0.2137 | 0.1933 | 0.074 |
| C38 | 0.3847(3) | 0.1089(5) | 0.1275(2) | 0.0549(10) |
| H38 | 0.3806 | 0.0206 | 0.1087 | 0.073 |
| C39 | 0.4481(4) | 0.2285(5) | 0.1031(2) | 0.0553(10) |
| H39 | 0.4348 | 0.3195 | 0.1183 | 0.074 |
| C40 | 0.5240(4) | 0.2238(5) | 0.0608(2) | 0.0561(10) |
| H40 | 0.5615 | 0.3097 | 0.0515 | 0.075 |
| C41 | 0.5517(4) | 0.0968(5) | 0.0291(2) | 0.0667(12) |
| H41 | 0.4951 | 0.0235 | 0.0292 | 0.089 |
| C42 | 0.6491(4) | 0.0685(5) | -0.0010(2) | 0.0669(12) |
| H42 | 0.6472 | -0.0183 | -0.0208 | 0.089 |
| C43 | 0.7547(4) | 0.1546(6) | -0.0063(2) | 0.0615(11) |
| C44 | 0.6538(4) | 0.1809(5) | 0.2131(2) | 0.0604(11) |
| H44a | 0.6468 | 0.1250 | 0.2467 | 0.091 |
| H44b | 0.6366 | 0.1206 | 0.1809 | 0.091 |
| H44c | 0.5986 | 0.2601 | 0.2130 | 0.091 |
| C45 | 0.9569(4) | 0.2182(5) | 0.1152(2) | 0.0672(12) |
| H45a | 0.9579 | 0.1568 | 0.1477 | 0.101 |
| H45b | 1.0333 | 0.2632 | 0.1124 | 0.101 |
| H45c | 0.9393 | 0.1614 | 0.0821 | 0.101 |
| C46 | 0.5457(4) | 0.3450(5) | 0.4993(2) | 0.0639(11) |
| H46a | 0.5625 | 0.2747 | 0.5282 | 0.096 |
| H46b | 0.4673 | 0.3287 | 0.4829 | 0.096 |
| H46c | 0.5499 | 0.4405 | 0.5152 | 0.096 |
| C47 | 0.5011(4) | -0.0416(5) | 0.3454(2) | 0.0585(10) |
| H47a | 0.5414 | -0.0441 | 0.3108 | 0.088 |
| H47b | 0.5069 | -0.1347 | 0.3632 | 0.088 |
| H47c | 0.5372 | 0.0302 | 0.3698 | 0.088 |
| O9 | 0.7726(2) | 0.5494(3) | 0.08236(10) | 0.0541(7) |
| O10 | 0.7446(2) | 0.2935(3) | 0.01142(11) | 0.0614(7) |
| O11 | 1.1025(3) | 0.6724(3) | 0.40210(11) | 0.0660(8) |
| O12 | 1.1686(4) | 0.4536(4) | 0.42167(11) | 0.0929(13) |
| H12a | 1.1403 | 0.4643 | 0.4525 | 0.139 |
| O21 | 0.8120(3) | 0.9864(3) | 0.46993(11) | 0.0694(9) |
| H21a | 0.8355 | 1.0500 | 0.4491 | 0.104 |
| O22 | 0.9496(2) | 0.7340(3) | 0.49236(10) | 0.0487(6) |
| H22a | 0.9857 | 0.7070 | 0.4651 | 0.073 |
| O23 | 0.6661(2) | 0.5896(2) | 0.43785(9) | 0.0402(5) |
| O25 | 0.8390(2) | 0.2657(3) | 0.43792(10) | 0.0479(6) |
| H25a | 0.9087 | 0.2735 | 0.4490 | 0.072 |
| O31 | 0.2365(2) | 0.1733(3) | 0.28488(10) | 0.0484(6) |
| O33 | 0.3530(2) | -0.0904(3) | 0.23669(10) | 0.0527(6) |
| O43 | 0.8458(3) | 0.1044(4) | -0.02304(14) | 0.0824(10) |
| Ueq=1/3[U11(aa*)2+U22(bb*)2+U33(cc*)2+2U12aa*bb*cos+2U13aa*cc*cos+2U23bb*cc*cos] |  |  |  |  |

Table 3.   Refined Thermal Parameters (U's) for Compound 1274

| Atom U11 U22 U33 U23 U13 U12 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| C1 | 0.065(3) | 0.044(3) | 0.054(2) | 0.001(2) | 0.016(2) | 0.003(2) |
| C2 | 0.055(2) | 0.059(3) | 0.048(2) | -0.003(2) | 0.005(2) | 0.007(2) |
| C3 | 0.076(3) | 0.074(3) | 0.059(2) | 0.003(2) | -0.001(2) | -0.011(3) |
| C4 | 0.066(3) | 0.063(3) | 0.061(2) | -0.010(2) | 0.006(2) | 0.007(2) |
| C5 | 0.076(3) | 0.071(3) | 0.049(2) | 0.004(2) | 0.001(2) | -0.011(2) |
| C6 | 0.056(2) | 0.061(3) | 0.052(2) | 0.009(2) | 0.011(2) | 0.001(2) |
| C7 | 0.052(2) | 0.058(3) | 0.049(2) | 0.006(2) | 0.009(2) | 0.003(2) |
| C8 | 0.049(2) | 0.060(3) | 0.051(2) | 0.003(2) | 0.005(2) | -0.002(2) |
| C9 | 0.046(2) | 0.063(3) | 0.042(2) | -0.002(2) | 0.010(2) | 0.002(2) |
| C10 | 0.052(2) | 0.072(3) | 0.048(2) | -0.006(2) | 0.010(2) | -0.004(2) |
| C11 | 0.064(3) | 0.082(4) | 0.043(2) | -0.006(2) | 0.004(2) | -0.005(2) |
| C12 | 0.059(3) | 0.086(4) | 0.046(2) | 0.013(2) | -0.002(2) | -0.008(2) |
| C13 | 0.061(3) | 0.059(3) | 0.055(2) | 0.005(2) | 0.001(2) | -0.001(2) |
| C14 | 0.063(2) | 0.064(3) | 0.049(2) | 0.010(2) | 0.008(2) | -0.007(2) |
| C15 | 0.076(3) | 0.060(3) | 0.052(2) | 0.001(2) | 0.007(2) | 0.007(2) |
| C16 | 0.073(8) | 0.041(7) | 0.052(5) | 0.001(5) | 0.013(5) | 0.001(5) |
| C17 | 0.083(7) | 0.045(5) | 0.043(4) | 0.008(4) | -0.001(4) | 0.006(5) |
| C18 | 0.054(5) | 0.032(5) | 0.051(4) | 0.010(4) | 0.003(3) | -0.007(5) |
| C16' | 0.075(8) | 0.055(8) | 0.055(5) | -0.006(6) | 0.002(5) | 0.011(6) |
| C17' | 0.074(6) | 0.051(6) | 0.051(4) | 0.004(4) | 0.008(4) | -0.007(5) |
| C18' | 0.062(5) | 0.056(7) | 0.050(5) | 0.005(6) | 0.015(4) | -0.007(6) |
| C19 | 0.053(2) | 0.091(3) | 0.045(2) | 0.003(2) | 0.006(2) | 0.010(2) |
| C20 | 0.049(2) | 0.067(3) | 0.051(2) | 0.007(2) | 0.002(2) | -0.009(2) |
| C21 | 0.052(2) | 0.030(2) | 0.041(2) | -0.0039(14) | -0.001(2) | -0.007(2) |
| C22 | 0.042(2) | 0.032(2) | 0.041(2) | -0.0047(14) | 0.0062(14) | -0.001(2) |
| C23 | 0.040(2) | 0.032(2) | 0.043(2) | -0.0038(14) | 0.003(2) | 0.002(2) |
| C24 | 0.053(2) | 0.033(2) | 0.044(2) | 0.000(2) | 0.001(2) | 0.005(2) |
| C25 | 0.062(2) | 0.031(2) | 0.047(2) | 0.001(2) | 0.002(2) | 0.000(2) |
| C26 | 0.050(2) | 0.033(2) | 0.050(2) | -0.001(2) | 0.006(2) | -0.008(2) |
| C27 | 0.047(2) | 0.026(2) | 0.047(2) | -0.0077(14) | -0.002(2) | -0.002(2) |
| C28 | 0.052(2) | 0.039(2) | 0.059(2) | -0.007(2) | -0.004(2) | -0.002(2) |
| C29 | 0.046(2) | 0.037(2) | 0.052(2) | -0.005(2) | -0.002(2) | 0.002(2) |
| C30 | 0.043(2) | 0.042(2) | 0.050(2) | -0.008(2) | 0.002(2) | 0.004(2) |
| C31 | 0.036(2) | 0.041(2) | 0.047(2) | -0.005(2) | -0.002(2) | 0.000(2) |
| C32 | 0.049(2) | 0.042(2) | 0.048(2) | 0.002(2) | 0.007(2) | -0.002(2) |
| C33 | 0.063(2) | 0.041(2) | 0.056(2) | -0.001(2) | 0.004(2) | -0.010(2) |
| C34 | 0.061(2) | 0.049(3) | 0.063(2) | -0.002(2) | 0.001(2) | -0.017(2) |
| C35 | 0.046(2) | 0.049(2) | 0.056(2) | -0.006(2) | -0.009(2) | -0.009(2) |
| C36 | 0.060(2) | 0.047(2) | 0.050(2) | -0.003(2) | -0.009(2) | -0.006(2) |
| C37 | 0.068(3) | 0.051(2) | 0.048(2) | -0.002(2) | 0.001(2) | -0.003(2) |
| C38 | 0.056(2) | 0.053(3) | 0.055(2) | 0.000(2) | -0.004(2) | -0.002(2) |
| C39 | 0.058(2) | 0.053(2) | 0.055(2) | 0.004(2) | -0.001(2) | -0.003(2) |
| C40 | 0.054(2) | 0.062(3) | 0.052(2) | 0.002(2) | -0.002(2) | -0.001(2) |
| C41 | 0.079(3) | 0.063(3) | 0.057(2) | -0.007(2) | -0.007(2) | -0.005(2) |
| C42 | 0.070(3) | 0.073(3) | 0.059(2) | -0.018(2) | 0.007(2) | 0.000(2) |
| C43 | 0.058(3) | 0.076(3) | 0.051(2) | -0.005(2) | 0.002(2) | -0.004(2) |
| C44 | 0.062(3) | 0.065(3) | 0.054(2) | 0.004(2) | 0.006(2) | -0.007(2) |
| C45 | 0.066(3) | 0.078(3) | 0.059(2) | 0.003(2) | 0.013(2) | 0.012(2) |
| C46 | 0.070(3) | 0.062(3) | 0.060(2) | 0.006(2) | 0.013(2) | -0.011(2) |
| C47 | 0.059(2) | 0.050(2) | 0.066(2) | 0.007(2) | -0.001(2) | 0.002(2) |
| O9 | 0.050(2) | 0.061(2) | 0.0518(14) | 0.0036(13) | 0.0081(12) | 0.0020(13) |
| O10 | 0.053(2) | 0.067(2) | 0.065(2) | -0.0114(14) | 0.0056(13) | -0.0084(14) |
| O11 | 0.087(2) | 0.051(2) | 0.060(2) | -0.0027(14) | 0.001(2) | 0.015(2) |
| O12 | 0.180(4) | 0.054(2) | 0.0452(14) | -0.0004(14) | 0.011(2) | 0.038(2) |
| O21 | 0.126(3) | 0.0264(14) | 0.055(2) | -0.0022(11) | -0.007(2) | -0.010(2) |
| O22 | 0.0479(14) | 0.044(2) | 0.0542(13) | -0.0055(12) | -0.0015(11) | -0.0042(12) |
| O23 | 0.0423(12) | 0.0291(13) | 0.0489(12) | -0.0055(10) | -0.0019(10) | 0.0005(10) |
| O25 | 0.0481(14) | 0.0384(14) | 0.0572(13) | -0.0031(11) | 0.0013(12) | 0.0062(12) |
| O31 | 0.0440(14) | 0.043(2) | 0.0577(14) | -0.0047(11) | -0.0056(11) | 0.0009(11) |
| O33 | 0.064(2) | 0.045(2) | 0.0491(13) | -0.0028(11) | 0.0038(12) | -0.0003(13) |
| O43 | 0.070(2) | 0.082(2) | 0.096(2) | -0.023(2) | 0.014(2) | 0.000(2) |
| The form of the anisotropic displacement parameter is: exp[-22(a*2U11h2+b*2U22k2+c*2U33l2+ 2b*c*U23kl+2a*c*U13hl+2a*b*U12hk)]. |  |  |  |  |  |  |

Table 4.   Bond Distances in Compound 1274, Å

| C1-O11 | 1.200(5) | C1-O12 | 1.311(5) | C1-C2 | 1.502(5) |
| --- | --- | --- | --- | --- | --- |
| C2-C3 | 1.518(6) | C3-C4 | 1.532(6) | C4-C5 | 1.538(6) |
| C5-C6 | 1.524(6) | C6-C7 | 1.505(5) | C6-C44 | 1.529(6) |
| C7-C8 | 1.327(5) | C8-C45 | 1.500(6) | C8-C9 | 1.511(5) |
| C9-O9 | 1.422(5) | C9-C10 | 1.519(5) | C10-O10 | 1.467(5) |
| C10-C11 | 1.491(6) | C11-C12 | 1.321(7) | C12-C13 | 1.501(6) |
| C13-O9 | 1.436(5) | C13-C14 | 1.536(6) | C14-C15 | 1.519(6) |
| C15-C16' | 1.303(14) | C15-C16 | 1.372(13) | C16-C17 | 1.48(2) |
| C17-C18 | 1.545(12) | C18-C19 | 1.538(11) | C16'-C17' | 1.50(2) |
| C17'-C18' | 1.495(14) | C18'-C19 | 1.566(11) | C19-C20 | 1.309(5) |
| C20-C21 | 1.483(5) | C21-O21 | 1.435(4) | C21-C22 | 1.528(5) |
| C22-O22 | 1.439(4) | C22-C23 | 1.515(5) | C23-O23 | 1.443(4) |
| C23-C24 | 1.528(5) | C24-C25 | 1.525(5) | C25-O25 | 1.434(4) |
| C25-C26 | 1.528(5) | C26-C46 | 1.536(6) | C26-C27 | 1.539(5) |
| C27-O23 | 1.438(4) | C27-C28 | 1.524(5) | C28-C29 | 1.496(5) |
| C29-C30 | 1.317(5) | C30-C31 | 1.495(5) | C31-O31 | 1.465(4) |
| C31-C32 | 1.514(5) | C32-C33 | 1.525(5) | C32-C47 | 1.531(5) |
| C33-O33 | 1.458(5) | C33-C34 | 1.501(6) | C34-C35 | 1.490(6) |
| C35-O31 | 1.450(4) | C35-C36 | 1.515(6) | C36-O33 | 1.461(5) |
| C36-C37 | 1.486(6) | C37-C38 | 1.343(5) | C38-C39 | 1.452(6) |
| C39-C40 | 1.350(6) | C40-C41 | 1.437(6) | C41-C42 | 1.363(6) |
| C42-C43 | 1.440(6) | C43-O43 | 1.210(5) | C43-O10 | 1.357(6) |

Table 5.   Bond Angles in Compound 1274, °

| O11-C1-O12 | 122.0(3) | O11-C1-C2 | 124.9(4) | O12-C1-C2 | 113.1(4) |
| --- | --- | --- | --- | --- | --- |
| C1-C2-C3 | 106.2(3) | C2-C3-C4 | 112.7(4) | C3-C4-C5 | 110.7(4) |
| C6-C5-C4 | 112.2(4) | C7-C6-C5 | 111.4(4) | C7-C6-C44 | 110.1(3) |
| C5-C6-C44 | 109.7(3) | C8-C7-C6 | 127.5(4) | C7-C8-C45 | 124.8(4) |
| C7-C8-C9 | 121.3(4) | C45-C8-C9 | 113.9(3) | O9-C9-C8 | 110.2(3) |
| O9-C9-C10 | 110.2(3) | C8-C9-C10 | 114.3(4) | O10-C10-C11 | 108.9(3) |
| O10-C10-C9 | 107.9(3) | C11-C10-C9 | 109.7(4) | C12-C11-C10 | 121.3(4) |
| C11-C12-C13 | 124.0(4) | O9-C13-C12 | 110.3(4) | O9-C13-C14 | 111.8(3) |
| C12-C13-C14 | 113.3(3) | C15-C14-C13 | 110.8(3) | C16'-C15-C16 | 30.4(5) |
| C16'-C15-C14 | 122.8(7) | C16-C15-C14 | 127.1(7) | C15-C16-C17 | 126.0(11) |
| C16-C17-C18 | 112.7(8) | C19-C18-C17 | 108.7(7) | C15-C16'-C17' | 123.3(11) |
| C18'-C17'-C16' | 114.3(9) | C17'-C18'-C19 | 109.0(8) | C20-C19-C18 | 129.9(5) |
| C20-C19-C18' | 119.3(5) | C18-C19-C18' | 27.0(4) | C19-C20-C21 | 124.5(4) |
| O21-C21-C20 | 113.5(3) | O21-C21-C22 | 104.9(2) | C20-C21-C22 | 113.8(3) |
| O22-C22-C23 | 108.4(3) | O22-C22-C21 | 111.2(3) | C23-C22-C21 | 113.7(2) |
| O23-C23-C22 | 107.7(3) | O23-C23-C24 | 109.3(3) | C22-C23-C24 | 111.8(3) |
| C25-C24-C23 | 111.3(3) | O25-C25-C24 | 110.6(3) | O25-C25-C26 | 108.1(3) |
| C24-C25-C26 | 111.5(3) | C25-C26-C46 | 111.1(3) | C25-C26-C27 | 109.4(3) |
| C46-C26-C27 | 113.0(3) | O23-C27-C28 | 107.5(3) | O23-C27-C26 | 110.2(2) |
| C28-C27-C26 | 114.3(3) | C29-C28-C27 | 111.6(3) | C30-C29-C28 | 127.3(4) |
| C29-C30-C31 | 124.1(3) | O31-C31-C30 | 105.8(3) | O31-C31-C32 | 112.3(3) |
| C30-C31-C32 | 115.0(3) | C31-C32-C33 | 108.3(3) | C31-C32-C47 | 111.1(3) |
| C33-C32-C47 | 111.6(3) | O33-C33-C34 | 104.1(3) | O33-C33-C32 | 109.8(3) |
| C34-C33-C32 | 110.0(3) | C35-C34-C33 | 98.1(3) | O31-C35-C34 | 110.5(3) |
| O31-C35-C36 | 112.3(3) | C34-C35-C36 | 101.7(3) | O33-C36-C37 | 111.8(3) |
| O33-C36-C35 | 103.6(3) | C37-C36-C35 | 116.4(3) | C38-C37-C36 | 126.1(4) |
| C37-C38-C39 | 121.5(4) | C40-C39-C38 | 127.8(4) | C39-C40-C41 | 125.3(4) |
| C42-C41-C40 | 129.2(5) | C41-C42-C43 | 128.9(4) | O43-C43-O10 | 123.3(4) |
| O43-C43-C42 | 122.2(5) | O10-C43-C42 | 114.4(4) | C9-O9-C13 | 113.8(3) |
| C43-O10-C10 | 118.5(3) | C27-O23-C23 | 110.8(2) | C35-O31-C31 | 114.1(3) |
| C33-O33-C36 | 107.3(3) |  |  |  |  |

References

. CrystalClear: Rigaku Corporation, 1999.

. CrystalStructure:  Crystal Structure Analysis Package, Rigaku Corp. Rigaku/MSC (2002).

.  REQAB4: R.A. Jacobsen, (1994). Private Communication.

. SIR97:  Altomare, A., M. Burla, M. Camalli, G. Cascarano, C. Giacovazzo, A. Guagliardi, A. Moliterni, G. Polidori & R. Spagna (1999).  J. Appl. Cryst., 32, 115-119.

. SQUEEZE: P. v.d. Sluis & A.L. Spek (1990). Acta. Cryst., A46, 194.

. SHELXL-97: Sheldrick, G.M. (2008) Acta Cryst., A64, 112-122.

. 	R1 = ∑ ||Fo| - |Fc|| / ∑ |Fo|

wR2 = { ∑ w (Fo- Fc)2 / ∑ w(Fo)2}1/2

GOF = { ∑ w (Fo- Fc)2 / (n - p)}1/2
where n = the number of reflections and p = the number of parameters refined.

. “ORTEP-II:  A Fortran Thermal Ellipsoid Plot Program for Crystal Structure Illustrations”.  C.K. Johnson (1976) ORNL-5138.